## Slide 1: INTRODUCTION SISO Control Algorithms
Module # 1.4
Lectures on
CHEMICAL PROCESS CONTROL
Theory and Practice

## Slide 2: SISO Feedback Control Algorithms
Feedback Control Algorithm
  Quantitative relationship between MV and CV
  ut = f(yt)
Simple Control Algorithms
  On Off Control
  Proportional Control
  Integral Control
  Proportional Integral Control
  Proportional Integral Derivative Control

## Slide 3: On-Off Control

## Slide 4: Proportional Control
Expect Offset

## Slide 5: How to Remove Offset?
At FSS
Want
Integral Controller
Integral control gives ZERO OFFSET for constant setpoint

## Slide 6: Proportional Integral Control
Combine both proportional and integral modes
Zero offset due to integral mode

## Slide 7: The Derivative Mode
To act when error is small but PV rate of change is large
PID

## Slide 8: Room SISO Temperature Control

## Slide 9: T Setpoint Change Response

## Slide 10: More Complex Control Algorithms
Feedforward Ideas
  Counter effect of a measured disturbance by adjusting MV
  Requires MV-CV and disturbance-CV dynamic models
  Major correction via feedforward. Minor correction via feedback
Model based control
  Major correction via model
  Minor correction via feedback
  Model based control + feedback
Complexity vs Simplicity
  Simple and robust but loose PV control
  Complex and tight PV control but fragile

## Slide 11: Feedback, Feedforward or Model-Based?
Balancing a Bike

## Slide 12: Feedback, Feedforward or Model-Based?
Wading Through Traffic

## Slide 13: Feedback, Feedforward or Model-Based?
Driving on a Highway

## Slide 14: Feedback, Feedforward or Model-Based?
Near Exact Grocery Weighing

## Slide 15: Feedback, Feedforward or Model-Based?
Fine Tuning Guitar Strings

## Slide 16: Feedback, Feedforward or Model-Based?
Balancing a Stick

## Slide 17: Summary
PV feedback based adjustment of MV a powerful means for control
Common SISO feedback control algorithms
  On-off
  PID
    Most commonly employed industrial algorithm (>90%)
    Integral mode gives off-set free control
    Derivative mode allows accelerated MV adjustment
More complex algorithms possible
  Feedforward + feedback
  Model + feedback
Prefer simplicity over complexity