## Slide 1: Dynamic Modelling First Principles Models Simple Systems IV
Module 3.2.4
Lectures on
CHEMICAL PROCESS CONTROL
Theory and Practice

## Slide 2: Heated Surge Vessel Dynamic Responses
1m3/min, 10 kmol/m3
20 oC
60 oC
10 m3
81.6 MJ/min
Cp = 2.55 kJ/kg K
ρ = 800 kg/m3
F0, cA0, T0
F, cA, T
TC
TSP
Process Dynamic Model
Controller Equation

## Slide 4: Heated Surge Vessel PI Temperature Control ()
Characteristic Equation Roots
Repeated roots with
For unit step forcing function,
ICs give &
where &
Unit Step Forcing Function Response
Regulator Step Response
Servo Step Response

## Slide 6: Heated Surge Vessel PI Temperature Control ()
Characteristic Equation Roots
Two distinct roots
For unit step forcing function,
ICs give &
where &
Unit Step Forcing Function Response
Regulator Step Response
Servo Step Response

## Slide 7: Heated Sursge Tank TC Dynamic Results
Offset with P control
No offset with PI control
Overshoot possible with I action
Faster servo response completion

## Slide 8: Exercise
Two identical adiabatic tanks-in-series.
  Obtain ODE describing response of exit concentration cA to step change in inlet concentration cA0
Two identical tanks in series with first tank loading second tank
  Obtain ODE describing response of exit concentration cA to step change in inlet concentration cA0

## Slide 9: Summary
Heated surge tank with PI temperature control described by a second order ODE
  Repeated real roots of characteristic equation
    τI = τ/R (R > 1) i.e. τI < τ
    Unit step forcing
      Characteristic equation roots:
  For distinct real roots
    τI < τ
    Unit step forcing
      Characteristic equation roots:
PI control of heated tank
  Response a linear combination of two decaying exponentials
  No offset from constant setpoint