## Slide 1: Dynamic Modelling Empirical Modelling
Module 3.4
Lectures on
CHEMICAL PROCESS CONTROL
Theory and Practice

## Slide 2: Empirical Modelling Approach
Obtain process reaction curve
Propose a combination of basic response types that can well fit the process reaction curve
Adjust basic response type parameters to well fit process reaction curve
Use fitted model to test control system performance

## Slide 3: Basic Dynamic Elements

## Slide 4: Basic Dynamic Responses

## Slide 5: Complex Responses by Combining Basic Responses
SERIES, PARALLEL & FEEDBACK STRUCTURES

## Slide 6: Complex Responses by Combining Basic Responses

## Slide 7: Complex Responses by Combining Basic Responses

## Slide 8: Empirical Modelling Approach
PARAMETERS
Lag time τ
Gain K
Delay Time θ
IDENTIFICATION
DESIGN CONTROLLER
VALIDATE PERFORMANCE
Servo & regulator

## Slide 9: FOPDT Model Fitting – Method I

## Slide 10: FOPDT Model Fitting – Method II

## Slide 11: FOPDT Model Tuned Performance
PLANT-MODEL MISMATCH

## Slide 12: Summary
Empirical Approach
  Simple and practical
  Applies ‘locally’ to any system (EE, ME, ChE etc)
Key Step
  Proposing a combination of basic response types to well fit process reaction curve
First order plus dead time model fitting
  Method I
    t63.2% and t28.3% give time constant and dead time
    Good fit
  Method II
    Tangent at the inflection point gives time constant and dead time
    Not so good fit
Method II closed loop performance inferior due to plant-model mismatch