## Slide 1: Laplace Domain Analysis Using Block Diagrams
Module 4.3
Lectures on
CHEMICAL PROCESS CONTROL
Theory and Practice

## Slide 2: Block Diagram
Graphical representation of equations
Single Equation
z = x + y
Σ
x
y
z
System of Equations
z = k1y + w
y = k2x - v
x = k3z + u
x
Σ
v
-1
k2
z
y
Σ
k1
w
Σ
u
k3
Clearly reveals information flow
Cause and effect
Feedback loops (if any)
Feedback can cause instability

## Slide 3: Feedback and Instability
System of Equations
Δzi = k1 Δyi + Δwi
Δyi = k2 Δxi - Δvi
Δxi = k3 Δzi + Δui
x
Σ
v
-1
k2
z
y
Σ
k1
w
Σ
u
k3
i | Δu | Δx | Δz
1 | 1 | 1 | k1k2
2 | 0 | k1k2k3 | (k1k2)2k3
3 | 0 | (k1k2k3)2 | (k1k2)3k32
n | 0 | (k1k2k3)n-1 | (k1k2)nk3n-1
i | Δu | Δx | Δz
1 | 1 | 1 | k1k2
2 | 0 | k1k2k3 | (k1k2)2k3
3 | 0 | (k1k2k3)2 | (k1k2)3k32
n | 0 | (k1k2k3)n-1 | (k1k2)nk3n-1
z∞ blows up if k1k2k3 > 1
z∞ bounded if k1k2k3 < 1
Feedback may result in instability

## Slide 4: Working with Block Diagrams
Gp
Σ
Gd
u
d
y
y = Gpu + Gdd
u = Gce
e = ySP – y
Gc
Σ
ySP
-1
e
?
?
y
Σ
d
ySP
RESOLVING FEEDBACK LOOP
Servo tf
Regulator tf
CLOSED LOOP CHARACTERISTIC EQUATION
1 + GpGc = 0

## Slide 5: Example 1
Gp
Σ
Gd2
u
d2
y
Gc
Σ
ySP
-1
e
Σ
Gd1
d1
y
Σ
d1
ySP
d2
Servo tf
Regulator tf1
Regulator tf2

## Slide 6: Example 2
Gp
Σ
d
y
G*
Σ
ySP
-1
Σ
Gm
-1
Gp
Σ
d
y
G*
Σ
ySP
Gm
Σ
-1
Gp
Σ
d
y
Gc
Σ
ySP
-1
Equivalent Simple Feedback Loop?

## Slide 7: Summary
Block diagram
  Graphical representation of a system of equations
  Clearly reveals information flow, cause-and-effect cascades and any feedback loops
Feedback loops may result in instability
Simplifying feedback loops
  Be careful about signs (positive or negative feedback)
SISO closed loop characteristic equation is 1+ GpGc = 0