## Slide 1: Model Predictive Control Dynamic Matrix Control
Process Dynamics and Control
Supplementary Material
Indian Institute of Technology Kanpur
Modeule 6.3

## Slide 2: The MPC Paradigm
ySP
y past
. . .
u past
. . .
u future
y future (predicted)
y reference
time
-4 -3 -2 -1 0 1 2 3 4 M P
. . .
. . .
. . .
. . .
GIVEN
A predictive model that predicts y for candidate control move sequences
QUESTION
Of all the candidate future control move sequences, which one causes the predicted y to best follow the reference trajectory
SOLUTION
Usually solved as an optimization problem
MPC PROCEDURE
Obtain current y measurement
Calculate reference trajectory
Calculate uoptimum
Implement current move
Repeat at next sampling instant
M: Control Horizon
P: Prediction Horizon

## Slide 3: Dynamic Matrix Control
Unit Step Response Coefficients
g = [g1 g2 g3 … gN-1 gN]
g1
g2
g3
gN-1
gN
. . .
. . .
. . .
. . .
time
0 1 2 3 N-1 N
u
y
Unit Step Process Reaction Curve
time
0 1 2 3
u0
u1
u2
u1
u0
u2
u = u0 + u1 + u2
Input Change Sequence
time
0 1 2 3
u
Any general input change sequence is a superposition of appropriately delayed steps
Predicted output response is superposition of appropriately delayed step responses

## Slide 4: SISO DMC: Predictive Model
Process
d
y
u
+
+
ySP
y past
. . .
u past
. . .
u future
y future (predicted)
y reference
time
-4 -3 -2 -1 0 1 2 3 4 M P
. . .
. . .
. . .
. . .
k
k
Effect of control moves
Effect of past moves
Forced response
Free response

## Slide 5: DMC Predictive Model
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
...
.
.
.
.
.
.
.
.
.
.
.
.
=
+

## Slide 6: DMC Optimum Control Move Sequence
For optimality
Implement first element of u* and repeat procedure at next instant

## Slide 7: Constrained DMC
Rate Constraint
Valve Saturation Constraint
Easily solved using quadratic programming
Subroutine quadprog in Matlab

## Slide 8: Reference Trajectory and Tuning
Reference Trajectory
Initial Condition
v
v
v
α↑
ySP
y0
time
CONTROLLER TUNING
M, P, α, λ: Tuning parameters
Usually M, P and α are chosen to reasonable values and λ adjusted for stable and tight closed loop control
No standard tuning procedures for MPC (Hit-and-trial)

## Slide 9: Multivariable DMC
DMC
Controller
u1
u2
uN
y1
y2
yN
PROCESS
G11 G12 … G1k … G1N
G21 G22 … G2k … G2N
Gj1 Gj2 … Gjk … GNN
GN1 GN2 … GNk … GNN
u1
u2
uk
uN
f1
f2
fj
fN
=
+
CONSTRAINED MULTIVARIABLE DMC
Rate Constraint
for k = 1 to N
Valve Saturation Constraint
for k = 1 to N
Solve using a quadratic program (quadprog in Matlab)

## Slide 10: Some Comments
MPC does not address stability directly. Classical methods do.
Stability addressed indirectly by adjusting the objective function using primarily λ (move suppression factor)
Since objective function itself is getting tuned to ensure stability, it makes little sense to claim “optimality” of control moves compared to classical control methods
The (pseudo)inversion of the dynamic matrix makes the technique truly multivariable
Same formalism can handle SISO, MIMO (square and non-square) systems
MPC performance degrades significantly with increasing plant model mismatch. Models and tuning must be periodically updated
No systematic MPC tuning procedures (unlike classical methods)